# Advanced Agriculture Lab Techniques and Protocol-Unit C

# Lab Notebook

## All entries should be ______________________, while procedures are being conducted.

## NOTHING SHOULD BE ERASED – errors should be __________________________________________________________________________________________________________.

### The researchers can read entries later.

## No pages _____________________________________________.

# Laboratory Notebook Sections

## ___________________________ – should include the title of the project, the date and time of the entry, and the initials of the researcher.

### Date, time and initials are written when the researcher has finished the entry.

## Purpose – the reason for conducting the research, applications possible from the findings.

## ________________________ – a prediction of the results based on research in the field.

## Literature Review – _____________________________________.

## Used to determine experimental procedures and a hypothesis.

## __________________________ – a list of materials and equipment used.

## Experimental Methodology – log of all the _______________ used.

### Must be comprehensive to guarantee reliability.

## Results – research findings can be __________________ or soft data. (written observations)

## ______________________ – derived from careful analysis of the results.

### Provides meaning to the experiment.

### Applies results to other fields.

## References –  _____________________________________________________________________________________________.

# Statistical Terms

## _____________________ – the combined average of a set of data

## _____________________ – the middle number in a set of data

## _____________________ – the value of occurring most frequently in a set of data

## ______________________________________ – measure for the spread of dispersion in data

### The middle 50% of data IQ3 – IQ1

# Statistical Analysis

## Once collected, data can be analyzed utilizing a number of statistical methods.

## _______________________ (Microsoft Excel) can be used to produce charts and graphs from data, and can even be used to run advance statistical tests.

## _____________________________ analyze the validity of experimental data – MUST BE QUANTITATIVE (STATS)

### Tests the significance of data – whether results were achieved by chance.

## Confidence level – ___________________________________________________________________________________ – shown as a percentage.

### _____________ is used for agriscience research

#### 95% chance that data reflects experimental variables.

## Correlation – test to indicate whether two sets of data are related.

# Measurement Instruments & Equipment

## Digital Scales

## Micropipette

## Graduated Cylinder

# Digital Scales

## _____________________________________________________________________________________________.

### Should be calibrated before use to ensure accuracy.

### Can be adjusted to automatically subtract the weight of containers for liquids and powders.

# Micropipette

## Extremely accurate device used ___________________________ of solution, usually between 1 and 200 ul.

### Measurements in micro liters.

### Tip must be fully submerged in fluid prior to extraction.

### During DNA transfer in gel electrophoresis, and other sterile labs.

#### Tips should be changed after each sample.

# ___________________ Cylinder

## ________________________ Cylinder – Specialized piece of glassware with incremental measurement, used to measure the volume of liquids or solids.

### Measurements taken at the ______________________; bottom of the curve.

### The volume of liquids can be measured by testing the change in volume of water once the solid is dropped into the cylinder.

# Compound Light Microscopes

## Guidelines for Use

### ALWAYS view a sample first under the lowest magnification.

#### Focus the image using the coarse focus.

### Utilize the fine focus under high magnification lenses to prevent damage to any slides of samples.

## Slide Preparation

### _______________________________ – utilizes no water, usually for samples that are not living.

#### Lighting is important – many compound light microscopes are difficult to focus on three-dimensional objects.

#### Make the sample as thin and lucid as possible.

### _______________________________ – utilizes water or another solution to contain living organisms (often microorganisms).

#### Slowly lower cover slip from a 45° angle to remove air bubbles.

#### Certain solutions can be used to slow the movement of living organisms.

### Cover Slips – _______________________________________.

#### Observation is easer.

#### Contamination is prevented.

# Equipment for Controlling Environmental Conditions

## _________________________________ – Uses a HEPA (high-efficiency particulate air) filter to create a sterile environment using forced airflow.

### Filtered air prevents the entrance of airborne contaminants only if work is kept away from the edge of the work area.

### Some flowhoods are equipped with ultraviolet lights to kill microorganisms inside the unit.

## ___________________________________ – contained area for the manipulation of environmental conditions related to the growth and development of living organisms.

### Enables researchers to control humidity, temperature, photoperiod, and photo intensity.

# General Guidelines for Living Subjects

## All research should follow the principle, “Do the least harm possible to research subjects.”

## Animal research should be of significant value to justify the risks associated.

## All research must be double blind when possible – Neither researchers nor subjects should know what individuals are receiving a treatment or a placebo.

# Research on Human Subjects

## National research guidelines and legislation.

### Formed in response to unethical and illegal research methodology.

### Infamous research abuse include Tuskegee syphilis trials in Alabama, and Nazi medical trials conducted by Josepf Mengele during WWII.

## Human research MUST NOT withhold a known effective treatment from research participants.

# Research on Other Animal Subjects

## Guidelines are set by the ____________________.

### Universities and research organizations also have IACUC’s or Institutional Animal Care and Use Committees to monitor the work of researchers under their auspices.

## Federal legislation protecting the rights of animals in research was passed in the late 60’s under the ___________________________ Act.

# Aseptic Technique

## ______________________________ Materials

### Autoclave bags are often used to contain loose materials and equipment for sterilization.

#### Limit risk of exposure/contact and will not melt.

### The top of glassware, instruments, and even paper towels may be wrapped in aluminum foil to maintain aseptic condition during transport to a sterile environment, or for short-term storage.

## Laminar _______________________

### Use 70% ethanol or another solution to sterilize the work surface prior to beginning laboratory activities.

### Run the flowhood during sterilization and for at least 15 minutes prior to using the work area.

### When not in use, place instruments in an ________________l solution within the flowhood.

### Keep all work well inside the flowhood, and face shields down to prevent contamination from breaking the air barrier.

## ANY INSTRUMENT TOUCHING MATERIAL OR THE WORKSURFACE SHOULD BE FLAMED OVER AN ALCOHOL LAMP BEFORE USE ON NEW MATERIAL.

# Hazardous Lab Materials

## Handling

### When handling highly caustic chemicals including strong acids and bases:

#### Wear proper protective clothing and equipment.

#### Be careful while pouring mixing solutions.

#### Utilize a magnetic stirrer.

##### Reduces splashing.

### Only trained professionals should extract human blood in experiments.

### __________________________________________.

#### Monitored and controlled by federal, state, and/or local agencies.

#### Require special permission dependent upon the acceptance of responsibility of the researcher.

#### MUST BE DESTROYED OR RETURNED AFTER USE!!

# Research __________________ Methodology

## Roles of the research greenhouse manager

### Log any major problems or climatic changes in the greenhouse.

### Monitor plants and animals used in lab research.

### ___________________________________________ or future research.

### Preventing contamination of living organisms into or out of the greenhouse.

## Methods for preventing the entrance or exit of plant or animal material.

### Automated ________________________ blast air down through greenhouse doors when opened preventing the entrance or exit of organisms/plant materials.

### Limiting the _________________________________ in houses.

#### Helps ensure research protocol is not broken.

### Greenhouse vents, heating and air systems are all sealed and self-contained to prevent the introduction or escape of organisms.

# Field Trial Methodology

## Preventing the dispersal of genetically modified organisms

### Preventing the transmission of altered genes to natural populations is the primary concern during field trials for genetically modified organisms.

### Gene Drift – the escape of genes from GMO’s to natural populations.

### _____________________________ – gene sequences inserted into transgenic organisms.

#### Prevents sexual reproduction, or ensure the destruction of the organisms.

#### Used for environmental and economic reasons.

### Buffer/Barrier Crops – a small stand of a traditional variation of a crop planted surrounding a ________________________ variety of the same crop.

#### Prevents gene drift.

#### Discourages the development of resistant varieties.

## Regulatory _______________________

### The ____________________ is responsible for the final approval of genetically modified plants and animals.

### The ____________________ monitors the safety of genetically modified organisms intended for human consumption.

### ____________________ is the agency directly responsible for monitoring field trials for genetically modified plants and animals.